## Sheet1
Author | Dr. Ryo Nakabayashi
Institute | RIKEN CSRS, Japan
Date of data recording | 2013-09-26
Species | Wasabia japonica (Miq.) Matsum.
Genotype | no information
Organ | leaf and stem
Growth support | no information
Growth location | no information
Growth plot design | no information
Light | no information
Humidity | no information
Temperature | no information
Watering regime | no information
Nutritional regime | no information
Catalogue number | no information
Supplier | a supermarket in Tokyo, Japan
Date(s) of plant establishment | no information
Other specific metadata | no information
Biotic treatment | no information
Abiotic treatment | no information
Intervention treatment | no information
Treatment dose or intensity levels | no information
Treatment time, time intervals and duration before harvest | no information
Harvest date, time | no information
Plant growth stage | no information
Metabolism quenching method | Freezing with liquid N2
Harvest method | After cutting leaves and stems, the samples were immediately frozen with liquid nitrogen and lyophilized at −55 °C
Sample strage | The lyophilized materials were stored at −80 °C
Reprecate sampling and analyses | n=1
Tissue harvesting method | Time from tissue resection to liquid N2 freezing was one minute. Tissues were pooled in tube.
Tissue processing method | The lyophilized materials were ground using a food mill (IWATANI) for about 2 min.
Storage condition prior to extraction or further processing | The lyophilized powder materials were stored at −80 °C
Extraction method | The freeze-dried powder samples were extracted with fifty volumes of 80% MeOH containing internal standards (0.5 mg/l lidocaine and D-camphor sulfonic acid) using a mixer mill (MM300, Retsch) with zirconia beads for 10 min at 20 Hz and 4 °C.
Extract cleanup and/or Additional manipulation | After centrifugation for 10 min, the supernatant was filtered using an HLB mElution plate (Waters).
Extract storage and/or relocate | not storaged
Chromatography instrument description | LC, Waters Acquity UPLC system
Separation column and pre/guard column | column, Acquity BEH C18 (1.7 m, 2.1 mm  100 mm, Waters)
Separation parameter | solvent system, solvent A (water with 0.1% formic acid) and solvent B (acetonitrile with 0.1% formic acid)
Instrument description | Waters Xevo G2 Q-Tof
Sample introduction and delivery | From LC
Ionization source | ESI positive and negative. column temperature, 40 C; MS detection: capillary voltage, +3.0 keV, cone voltage, 25.0 V, source temperature, 120 C, desolvation temperature, 450 C, cone gas flow, 50 l/h; desolvation gas flow, 800 l/h; collision energy, 6 V; MS/MS detection: collision energy 10, 20, and 30V
Mass analyzer description and acquisition mode | quadrupole-time-of-flight
Data acquisition parameters | MS: mass range, m/z 100‒1500; scan duration, 0.1 sec; interscan delay, 0.014 sec; data acquisition, centroid mode. MS/MS: m/z 50–1500; scan duration, 0.02 sec; inter-scan delay, 0.014 sec; data acquisition, centroid mode; MS/MS spectra of the top 10 ions (> 1000 counts) in an MS scan were automatically obtained.
Data file format | textfile
Data proccessing software | MassLynx 4.1 (Waters)
Data proccessing parameters | The data were converted into the ASCII format using DataBridge. The information in each MS/MS spectrum was formatted to the MS2T libraries using in-house Perl scripts. Low-intensity signals of less than 5 cps were discarded in this process.